{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":27,"n_cols":8,"rows_kept":27,"merged":[[0,0,0,7],[1,0,1,7],[22,0,22,5],[23,0,23,7],[24,0,24,7],[25,0,25,7],[26,0,26,7]],"flags":["formulas_cached_only"]}
["滕州市中心人民医院询价表"]
["公司名称：                           联系人：                        联系电话："]
["序号","名称","规格或材质","单位","数量（约)","生产厂家","价格（元）","备 注"]
[1,"脱脂铜管Ø8*1.0",null,"米",240]
[2,"负压主管加粗Ø12*1.0",null,"米",240]
[3,"设备带",null,"米",50]
[4,"扣  槽",null,"米",50]
[5,"隔  条",null,"个","/"]
[6,"封  头",null,"米",80]
[7,"转换头",null,"个","/"]
[8,"房间阀",null,"个",40]
[9,"氧气终端（与现有适配）",null,"个",40]
[10,"负压终端（与现有适配）",null,"个",40]
[11,"电源线",null,"米",240]
[12,"开  关",null,"个",40]
[13,"插  座（五孔*2）",null,"个",80]
[14,"床头灯",null,"套",40]
[15,"漏电保护器",null,"个",40]
[16,"辅料",null,"项",1]
[17,"管道清洗除菌",null,"米",500]
[18,"人工费",null,"个","/"]
[19,"运输费及其他"]
["合   计（数量以现场评估为准）"]
["注：1、请于公告发布之日起3个工作日内发至滕州市中心人民医院招标办邮箱tzrmyyzbb@163.com。"]
["2、请把空项填写完善，如不完善，招标办有权拒绝该公司项目的参与权，如有疑问，请电话咨询招标办。"]
["3、请符合条件的供货商，需要提供相关资质到滕州市中心人民医院招标办。\n  （企业法人营业执照、经营许可证、注册证、法人授权委托书）"]
["4、如资质不符合相关要求，给与警告一次，出现两次者，限制此公司参与本医院相关招标项目一年，\n   请慎重投标。"]